## Summary
SUMMARY
PERFECT ESTIMATOR LLC Achieve Your Bidding Success
Example Estimate ¦
Project Title: |  |  | 21 Fairfield Ave ¦ Res-GC ¦ NJ
Client: Due Date: |  |  | AAA Construction LLC 3/12/24
DATE |  | PROJECT NAME | PROJECT LOCATION
2024-03-27 |  | TAUNTON PUBLIC SAFETY COMPLEX | 90 COUNTY STREET, TAUTON MA
LINE NO. | CSI DIV. | DESCRIPTION | MATERIAL COST | LABOR COST | TOTAL COST
1 |  | CONCRETE | 942874.8546 | 1709953.3156 | 2652828.1702
2 |  | SITE WORK | 2728483.8291 | 4449927.4972 | 7178411.3263
|  | TOTAL PROJECT COST |  |  | 9831239.4966
CONCRETE ALTERNATE
3 | ALT-1 | FIRE TRAINING COMPLEX | 30232.7864 | 42566.1683 | 72798.9547
3 | ALT-2 | CARPORT | 7962.6786 | 11703.0336 | 19665.7121
SITE ALTERNATE
4 | ALT-1 | FIRE TRAINING COMPLEX | 15518.0467 | 21500.7625 | 37018.8092
4 | ALT-2 | CARPORT | 0 | 6145.7371 | 6145.7371
5 | ALT-3 | ALTERNATE CURBING | 78802.069 | 52717.4197 | 131519.4887
5 | ALT-4 | IRRIGATION | 4126.6012 | 6181.1932 | 10307.7944
6 | ALT-5 | LANDSCAPE | 0 | 0 | 0

## Concrete
CONSTRUCTION COST ESTIMATE BREAKDOWN
CONTRACTOR | [5 empty] | ADDRESS
[6 empty] | TOTAL MATERIAL COST |  |  |  | 678937.7891
[6 empty] | TOTAL LABOR COST |  |  |  | 1198285.4349
[6 empty] | SUBTOTAL |  |  |  | 1877223.224
[6 empty] | SALES TAX |  |  | 6.25% | 42433.6118
[6 empty] | LABOR BURDEN |  |  | 10% | 119828.5435
[6 empty] | OVERHEAD & PROFIT |  |  | 25% | 469305.806
[6 empty] | BONDING |  |  | 2% | 50175.8237
[6 empty] | CONTINGENCY / WASTAGE |  |  | 5% | 93861.1612
[6 empty] | PROPOSED PROJECT AMOUNT |  |  |  | 2652828.1702
[6 empty] | TOTAL MANHOURS |  |  |  | 19279.68
DATE |  | PROJECT NAME | SCOPE OF WORK |  |  |  | PROJECT LOCATION
2024-03-27 |  | TAUNTON PUBLIC SAFETY COMPLEX | CONCRETE & SITE WORKS
LINE NO. | DWG REF./ CSI SEC. | ITEM DESCRIPTION | UNIT OF MEASURE | QUANTITY | MATERIAL |  | LABOR |  | LINE TOTAL | TRADE TOTAL W/ S.TAX, O&P
[5 empty] | UNIT PRICE | TOTAL COST | UNIT PRICE | TOTAL COST
| DIV. 01 | GENERAL REQUIREMENTS |  |  | 0 | 0 | 137000 | 0 | 137000 | 195499
[5 empty] | 0 | 0 | 0 | 0 | 0
1 |  | PERMITS | LS | 1 | 0 | 0 | 4500 | 4500 | 4500
2 |  | SITE SUPERVISION | LS | 1 | 0 | 0 | 85500 | 85500 | 85500
3 |  | FINAL CLEANUP | LS | 1 | 0 | 0 | 31500 | 31500 | 31500
4 |  | DUMPSTER | LS | 1 | 0 | 0 | 15500 | 15500 | 15500
[5 empty] | 0 | 0 | 0 | 0 | 0
| DIV. 03 | CONCRETE |  |  | 678937.7891 | 0 | 1061285.4349 | 0 | 1740223.224 | 2457329.1702
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | SLAB ON GRADE |  |  | 0 | 0 | 0 | 0 | 0
5 | S100-S101B | 4" THICK. SLAB ON GRADE REINF W/ 6 x 6 - W2.9 x W2.9 W.W.F. | SF | 32506.7 | 1.2773 | 41520.1578 | 3.0765 | 100007.4769 | 141527.6347
6 |  | 6" THICK. SLAB ON GRADE RAMP W/ 6 x 6 W2.9 x W2.9 W.W.F | SF | 297.67 | 2.253 | 670.6446 | 3.3781 | 1005.5705 | 1676.215
7 |  | 6" CONCRETE SLAB ON GRADE W/ 6 x 6 W2.9 x W2.9 W.W.F. BELOW HIGH DENSITY STRONG SYSTEM | SF | 234.45 | 2.253 | 528.2112 | 3.3781 | 792.0045 | 1320.2157
8 |  | 6" THICK. CONCRETE SLAB ON GRADE W/ 6 x 6 - W2.9 x W2.9 W.W.F. | SF | 1120.68 | 2.253 | 2524.8696 | 3.3781 | 3785.8121 | 6310.6818
9 |  | 10" CONCRETE SLAB ON GRADE REINFORCEMENT W/ #4 @ 12" O.C. E.W. T &B | SF | 8263.19 | 3.9471 | 32616.0504 | 3.6798 | 30406.5387 | 63022.5891
10 |  | 12" CONCRETE SLAB ON GRADE W/#4 @ 12" O.C. E.W. T&B | SF | 108.44 | 4.8519 | 526.139 | 3.6798 | 399.0329 | 925.1719
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | THICKNED EDGE |  |  | 0 | 0 | 0 | 0 | 0
11 |  | 8"THICK x 1'-4"H CONCRETE THICKNED EDGE W/ #4 VERT. DOWEL @12" O.C. (DRILL & FILL CONCRETE W/ HILTI HY-100 ADHESIVE, OR EQUAL, 6" MIN. EMBED.) & (3) CONT. #4 REBAR | CY | 3.9337 | 206.2275 | 811.2395 | 332.514 | 1308.0141 | 2119.2536
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | CONTROL JOINT |  |  | 0 | 0 | 0 | 0 | 0
12 |  | CONTROL JOINT IN TERRAZZO | LF | 5992.15 | 0.83378 | 4996.1348 | 2.7085 | 16229.8821 | 21226.0169
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | CONCRETE WALL |  |  | 0 | 0 | 0 | 0 | 0
13 | S100-S101B | 8" THICK. 2'-8"H CONCRETE STEM WALL W/#4 @ 12" O.C. E,W, CRT,D (ALT. HOOK DIRECT. EVERY OTHER BAR) | CY | 11.6934 | 243.4815 | 2847.137 | 315.2941 | 3686.8736 | 6534.0106
14 |  | 8" THICK. 3'-2"H CONCRETE STEM WALL #4 @ 12" O.C. E.W. | CY | 3.1664 | 243.4815 | 770.9574 | 315.2941 | 998.3441 | 1769.3016
15 |  | 8" THICK. 3'-2"H CONCRETE STEM WALL W/#4 @ 12" O.C. E,W, CRT,D (ALT. HOOK DIRECT. EVERY OTHER BAR) | CY | 4.4845 | 243.4815 | 1091.9033 | 315.2941 | 1413.95 | 2505.8533
16 |  | 8" THICK. x 2'-6"H STEM WALL W/ #4 @12" O.C. CTRD (ALT. HOOK DIRECTION EVERY OTHER VERT. BAR) | CY | 0.70102 | 243.4815 | 170.685 | 315.2941 | 221.027 | 391.712
17 |  | 8" THICK. x 3'-2"H STEM WALL W/ #4 @12" O.C. CTRD (ALT. HOOK DIRECTION EVERY OTHER VERT. BAR) | CY | 0.88138 | 243.4815 | 214.6003 | 315.2941 | 277.8947 | 492.495
18 |  | 10" THICK. x 3'-2"H W/#4 12" O.C. E.W.E.F. STEM WALL | CY | 6.2937 | 243.4815 | 1532.4113 | 315.2941 | 1984.3818 | 3516.7931
19 |  | 10" THICK. x 4'-10"H W/#4 12" O.C. E.W.E.F. STEM WALL | CY | 14.9042 | 243.4815 | 3628.8968 | 315.2941 | 4699.2061 | 8328.1029
20 |  | 10" THICK. x 5'-0"H STEM WALL W/#4 @12" O.C. VERT. W/ MATCHING DOWELS & #4 @12" O.C. HORIZ. & #5 @10" O.C. VERT. W/ MATCHING DOWELS & #4 12" O.C. HORIZ. | CY | 4.4251 | 243.4815 | 1077.4372 | 315.2941 | 1395.2173 | 2472.6545
21 |  | 10" THICK. x 5'-6"H STEM WALL W/#4 @12" O.C. VERT. W/ MATCHING DOWELS & #4 @12" O.C. HORIZ. & #5 @10" O.C. VERT. W/ MATCHING DOWELS & #4 12" O.C. HORIZ. | CY | 26.5142 | 243.4815 | 6455.7163 | 315.2941 | 8359.7696 | 14815.4859
22 |  | 12" THICK. x 3'-8"H W/#4 12" O.C. E.W.E.F. STEM WALL | CY | 7.1619 | 243.4815 | 1743.7992 | 315.2941 | 2258.1165 | 4001.9156
23 |  | 1'-3" THICK. x 2'-10"H W/#4 12" O.C. E.W.E.F. STEM WALL | CY | 4.2869 | 243.4815 | 1043.7872 | 315.2941 | 1351.6424 | 2395.4296
24 |  | 1'-3" THICK. x 2'-8"H W/#4 12" O.C. E.W.E.F. STEM WALL | CY | 13.0855 | 243.4815 | 3186.0704 | 315.2941 | 4125.7722 | 7311.8426
25 |  | 1'-3" THICK. x 3'-2"H W/#4 12" O.C. E.W.E.F. STEM WALL | CY | 97.2427 | 243.4815 | 23676.8005 | 315.2941 | 30660.052 | 54336.8524
26 |  | 1'-3" THICK. x 4'-10"H W/#4 12" O.C. E.W.E.F. STEM WALL | CY | 6.6569 | 243.4815 | 1620.8327 | 315.2941 | 2098.8822 | 3719.7148
27 |  | 1'-3" THICK. x 4'-2"H W/#4 12" O.C. E.W.E.F. STEM WALL | CY | 13.1156 | 243.4815 | 3193.3951 | 315.2941 | 4135.2573 | 7328.6524
28 |  | 1'-10" THICK. x 2'-8"H W/#4 12" O.C. E.W.E.F. STEM WALL | CY | 21.3722 | 243.4815 | 5203.7264 | 315.2941 | 6738.5169 | 11942.2433
29 |  | 1'-10" THICK. x 3'-2"H W/#4 12" O.C. E.W.E.F. STEM WALL | CY | 4.3478 | 243.4815 | 1058.611 | 315.2941 | 1370.8385 | 2429.4495
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | FOARM WORK |  |  | 0 | 0 | 0 | 0 | 0
30 |  | FORMWORK REQUIRED | SF | 12038 | 1.774 | 21355.412 | 2.5054 | 30159.821 | 51515.233
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | CONCRETE FOOTING |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | WALL FOOTING |  |  | 0 | 0 | 0 | 0 | 0
31 | S100-S101B | 18'-6" x 10'-0" x 2'-0" DEEP CONCRETE FOOTING W/ #8 @ 12" O.C. E.W T&B | CY | 13.7037 | 202.3824 | 2773.3878 | 384.0275 | 5262.5987 | 8035.9865
32 |  | 20'-6" x 12'-0" x 2'-6" DEEP CONCRETE FOOTING W/ #8 @12" O.C. E.W. T& B | CY | 22.7778 | 202.3824 | 4609.8203 | 384.0275 | 8747.2924 | 13357.1127
33 |  | 2'-3"W x 1'-0"H CONCRETE FOOTING W/ (3) #5 REBARS CONTINUE | CY | 72.7892 | 206.2275 | 15011.1279 | 332.514 | 24203.417 | 39214.5448
34 |  | 2'-10"W x 1'-0"H CONCRETE FOOTING W/ (4) #5 REBARS CONTINUE | CY | 10.5417 | 206.2275 | 2173.9816 | 332.514 | 3505.2518 | 5679.2333
35 |  | 2'-0"W x 1'-0"H CONCRETE FOOTING W/ (3) #5 REBARS CONTINUE | CY | 26.145 | 206.2275 | 5391.8195 | 332.514 | 8693.581 | 14085.4005
36 |  | 4'-0"W x 1'-0"H CONCRETE FOOTING W/ (3) #5 REBARS CONTINUE | CY | 4.2859 | 206.2275 | 883.8758 | 332.514 | 1425.1304 | 2309.0062
37 |  | 6'-11"W x 12" THICK. CONCRETE FOOTING W/ #5 BARS @ 10" O.C .E.W. | CY | 4.4172 | 206.2275 | 910.955 | 332.514 | 1468.7919 | 2379.7469
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | COLUMN FOOTING |  |  | 0 | 0 | 0 | 0 | 0
38 |  | F3.0: 3'-0" x 3'-0" x 1'-0" CONCRETE FOOTING W/ (5) #5 E.W. BOTTOM | CY | 6.3333 | 202.3824 | 1281.7549 | 384.0275 | 2432.174 | 3713.9289
39 |  | F3.0A:3'-0" x 3'-0" x 1'-0" CONCRETE FOOTING W/ (5) #5 E.W. T&B | CY | 7 | 202.3824 | 1416.6765 | 384.0275 | 2688.1923 | 4104.8688
40 |  | F3.0B:3'-0" x 3'-0" x 1'-4" CONCRETE FOOTING W/ (5) #5 E.W. BOTTOM | CY | 0.88667 | 202.3824 | 179.4457 | 384.0275 | 340.5044 | 519.95
41 |  | F4.0: 4'-0" x 4'-0" x 1'-0" CONCRETE FOOTING W/ (6) #5 E.W. BOTTOM | CY | 5.9259 | 202.3824 | 1199.3028 | 384.0275 | 2275.7183 | 3475.0212
42 |  | F4.0A:4'-0" x 4'-0" x 1'-0" CONCRETE FOOTING W/ (6) #5 E.W. T&B | CY | 7.7037 | 202.3824 | 1559.0937 | 384.0275 | 2958.4338 | 4517.5275
43 |  | F4.0B: 4'-0" x 4'-0" x 1'-4" CONCRETE FOOTING W/ (6) #5 E.W. BOTTOM | CY | 0.78815 | 202.3824 | 159.5073 | 384.0275 | 302.6705 | 462.1778
44 |  | F4.0D: 4'-0" x 5'-6" x 1'-0" CONCRETE FOOTING (6)#5 LONG DIRECT T& B & (8) #5 SHORT DIRECT. T&B | CY | 0.81481 | 202.3824 | 164.9041 | 384.0275 | 312.9113 | 477.8154
45 |  | F5.0A: 5'-0" x 5'-0" x 1'-0" CONCRETE FOOTING (7)#5 E.W.T&B | CY | 11.1111 | 202.3824 | 2248.6928 | 384.0275 | 4266.9719 | 6515.6647
46 |  | F5.0B: 5'-0" x 5'-0" x 1'-4" CONCRETE FOOTING (7)#5 E.W. BOTTOM | CY | 11.0833 | 202.3824 | 2243.0711 | 384.0275 | 4256.3045 | 6499.3756
47 |  | F5.0C: 4'-0" x 6'-6" x 1'-4" CONCRETE FOOTING W/(7)#5 LONG DIRECT T&B (10)#5 SHORT DIRECT. T&B | CY | 1.2807 | 202.3824 | 259.1993 | 384.0275 | 491.8396 | 751.039
48 |  | F6.0: 6'-0" x 6'-0" x 1'-6" CONCRETE FOOTING (10)#5 E.W. BOTTOM | CY | 16 | 202.3824 | 3238.1177 | 384.0275 | 6144.4395 | 9382.5572
49 |  | F6.0A: 6'-0" x 6'-0" x 1'-6" CONCRETE FOOTING (10)#5 E.W. T&B | CY | 8 | 202.3824 | 1619.0588 | 384.0275 | 3072.2198 | 4691.2786
50 |  | F7.0: 7'-0" x 7'-0" x 1'-6" CONCRETE FOOTING (12)#5 E.W. BOTTOM | CY | 24.5 | 202.3824 | 4958.3677 | 384.0275 | 9408.673 | 14367.0407
51 |  | F7.0A: 7'-0" x 7'-0" x 1'-6" CONCRETE FOOTING (12)#5 E.W. T&B | CY | 13.6111 | 202.3824 | 2754.6487 | 384.0275 | 5227.0406 | 7981.6893
52 |  | F8.0: 8'-0" x 8'-0" x 1'-6" CONCRETE FOOTING (14) #5 E.W. BOTTOM | CY | 21.3333 | 202.3824 | 4317.4902 | 384.0275 | 8192.586 | 12510.0763
53 |  | F8.0A: 8'-0" x 8'-0" x 2'-0" CONCRETE FOOTING (11) #6 E.W. T&B | CY | 9.4815 | 202.3824 | 1918.8846 | 384.0275 | 3641.1493 | 5560.0339
54 |  | F9.0A: 9'-0" x 9'-0" x 2'-0" CONCRETE FOOTING W/ (11) #6 E.W. T&B | CY | 24 | 202.3824 | 4857.1765 | 384.0275 | 9216.6593 | 14073.8358
55 |  | F10.0A: 10'-0" x 10'-0" x 2'-6" CONCRETE FOOTING W/ (10) #8 E.W. T&B | CY | 55.5556 | 202.3824 | 11243.4642 | 384.0275 | 21334.8595 | 32578.3236
56 |  | F12.0A: 12'-0" x 12'-0" x 2'-10" CONCRETE FOOTING W/ (12) #8 E.W. T&B | CY | 15.0933 | 202.3824 | 3054.6243 | 384.0275 | 5796.2546 | 8850.879
[5 empty] | 0 | 0 | 0 | 0 | 0
PIERS
40 |  | 1'-7" x 1'-3" x 5"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.082833 | 779.1408 | 64.5388 | 402.7049 | 33.3574 | 97.8962
41 |  | 1'-7" x 1'-3" x 8"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.13214 | 779.1408 | 102.9548 | 402.7049 | 53.213 | 156.1678
42 |  | 1'-7" x 1'-3" x 2'-4"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.30635 | 779.1408 | 238.6912 | 402.7049 | 123.3694 | 362.0606
43 |  | 1'-7" x 1'-3" x 2'-10"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 10.4186 | 779.1408 | 8117.5506 | 402.7049 | 4195.618 | 12313.1686
42 |  | 1'-7" x 1'-3" x 3'-0"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.23349 | 779.1408 | 181.9207 | 402.7049 | 94.0271 | 275.9478
43 |  | 1'-7" x 1'-3" x 3'-4"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.21944 | 779.1408 | 170.9781 | 402.7049 | 88.3713 | 259.3495
45 |  | 1'-7" x 1'-3" x 3'-5"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.80536 | 779.1408 | 627.4897 | 402.7049 | 324.3228 | 951.8125
46 |  | 1'-7" x 1'-3" x 3'-8"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.26845 | 779.1408 | 209.1632 | 402.7049 | 108.1076 | 317.2708
47 |  | 1'-7" x 1'-3" x 3'-10"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.84047 | 779.1408 | 654.8462 | 402.7049 | 338.4623 | 993.3085
48 |  | 1'-7" x 1'-3" x 4'-3"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.31088 | 779.1408 | 242.219 | 402.7049 | 125.1927 | 367.4117
49 |  | 1'-7" x 1'-3" x 4'-7"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.33502 | 779.1408 | 261.0266 | 402.7049 | 134.9136 | 395.9402
50 |  | 1'-7" x 1'-3" x 4-8"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.3416 | 779.1408 | 266.1559 | 402.7049 | 137.5647 | 403.7207
50 |  | 1'-8" x 1'-4" x 2'-7"H CONCRETE PIERS W/ (8)8# VERT. TIES & (2)#4 @ 12" O.C. (4AD'L TIES @ 2" O.C. TOP) | CY | 0.21224 | 779.1408 | 165.3636 | 402.7049 | 85.4695 | 250.8331
50 |  | 1'-8" x 1'-4" x 2'-10"H CONCRETE PIERS W/ (8)8# VERT. TIES & (2)#4 @ 12" O.C. (4AD'L TIES @ 2" O.C. TOP) | CY | 0.46561 | 779.1408 | 362.7745 | 402.7049 | 187.5028 | 550.2772
50 |  | 1'-8" x 1'-4" x 3'-4"H CONCRETE PIERS W/ (8)8# VERT. TIES & (2)#4 @ 12" O.C. (4AD'L TIES @ 2" O.C. TOP) | CY | 0.54787 | 779.1408 | 426.8689 | 402.7049 | 220.6305 | 647.4994
51 |  | 1'-8" x 1'-4" x 3'-10"H CONCRETE PIERS W/ (8)8# VERT. TIES & (2)#4 @ 12" O.C. (4AD'L TIES @ 2" O.C. TOP) | CY | 0.63013 | 779.1408 | 490.9633 | 402.7049 | 253.7582 | 744.7215
53 |  | 1'-8" x 1'-4" x 4'-6"H CONCRETE PIERS W/ (8)8# VERT. TIES & (2)#4 @ 12" O.C. (4AD'L TIES @ 2" O.C. TOP) | CY | 0.82181 | 779.1408 | 640.3034 | 402.7049 | 330.9457 | 971.249
54 |  | 1'-8" x 1'-4" x 5'-7"H CONCRETE PIERS W/ (8)8# VERT. TIES & (2)#4 @ 12" O.C. (4AD'L TIES @ 2" O.C. TOP) | CY | 0.46643 | 779.1408 | 363.4154 | 402.7049 | 187.834 | 551.2495
55 |  | 1'-7" x 1'-7" x 5"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.10725 | 779.1408 | 83.565 | 402.7049 | 43.1912 | 126.7562
31 |  | 1'-7" x 1'-7" x 8"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.19416 | 779.1408 | 151.2814 | 402.7049 | 78.191 | 229.4724
30 |  | 1'-7" x 1'-7" x 1'-8"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.24944 | 779.1408 | 194.3459 | 402.7049 | 100.4492 | 294.795
30 |  | 1'-7" x 1'-7" x 2'-4"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 2 | 779.1408 | 1558.2816 | 402.7049 | 805.4097 | 2363.6913
31 |  | 1'-7" x 1'-7" x 2'-6"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.56011 | 779.1408 | 436.4054 | 402.7049 | 225.5595 | 661.9649
31 |  | 1'-7" x 1'-7" x 2'-10"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.84539 | 779.1408 | 658.6812 | 402.7049 | 340.4444 | 999.1257
31 |  | 1'-7" x 1'-7" x 3'-4"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.24869 | 779.1408 | 193.764 | 402.7049 | 100.1484 | 293.9124
32 |  | 1'-7" x 1'-7" x 4'-4"H CONCRETE PIERS W/ (4)8# VERT. TIES & (1) #4 @ 12" O.C. (2AD'L TIES @ 2" O.C. TOP) | CY | 0.8007 | 779.1408 | 623.8558 | 402.7049 | 322.4447 | 946.3005
33 |  | (2) 3'-2" x 1'-4" x 2'-6"H CONCRETE PIERS W/ (8)8# VERT. TIES & (2)#4 @ 12" O.C. (4AD'L TIES @ 2" O.C. TOP) | CY | 0.38915 | 779.1408 | 303.2012 | 402.7049 | 156.7119 | 459.9131
34 |  | 1'-4" x 1'-4" x 3'-8"H CONCRETE PIERS W/ (8)8# VERT. TIES & (2)#4 @ 12" O.C. (4AD'L TIES @ 2" O.C. TOP) | CY | 1.2022 | 779.1408 | 936.6806 | 402.7049 | 484.1305 | 1420.8111
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | FOARM WORK |  |  | 0 | 0 | 0 | 0 | 0
57 |  | FORMWORK REQUIRED | SF | 4941 | 1.774 | 8765.334 | 2.5054 | 12379.1058 | 21144.4398
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | INSULATION |  |  | 0 | 0 | 0 | 0 | 0
58 | S100-S101B | RIGID INSULATION (COORD. W/ ARCH.) AT SLAB ON GRADE | SF | 42531 | 0.81604 | 34706.9972 | 0.64745 | 27536.5599 | 62243.5571
59 |  | RIGID INSULATION (COORD. W/ ARCH.) AT STEM WALL | SF | 5957 | 0.81604 | 4861.1503 | 0.64745 | 3856.8406 | 8717.9909
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | VAPOR BARRIER |  |  | 0 | 0 | 0 | 0 | 0
60 | S100-S101B | VAPOR BARRIER AT SLAB ON GRADE | SF | 42531 | 0.29271 | 12449.249 | 0.81256 | 34558.8703 | 47008.1193
61 |  | VAPOR BARRIER AT STEM WALL | SF | 5957 | 0.29271 | 1743.6735 | 0.81256 | 4840.4032 | 6584.0767
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | REBARS/ MESH |  |  | 0 | 0 | 0 | 0 | 0
62 | C1-C3 | #4 REBARS | LBS | 41560.5157 | 0.66525 | 27648.1331 | 0.49839 | 20713.2956 | 48361.4287
63 |  | #5 REBARS | LBS | 22168.232 | 0.7096 | 15730.5774 | 0.44855 | 9943.5587 | 25674.1361
64 |  | #6 REBARS | LBS | 4719.2323 | 0.59429 | 2804.5926 | 0.39871 | 1881.61 | 4686.2026
65 |  | #8 REBARS | LBS | 18177.093 | 0.61203 | 11124.9262 | 0.39871 | 7247.4077 | 18372.3339
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | WIRE MESH |  |  | 0 | 0 | 0 | 0 | 0
66 | C1-C3 | 6"x6" #10 WELDED WIRE MESH | SF | 11383 | 0.22175 | 2524.1802 | 0.23979 | 2729.5555 | 5253.7358
67 |  | 6 x 6 - W2.9 x W2.9 W.W.F. WELDED WIRE MESH | SF | 34159.7 | 0.4435 | 15149.8269 | 0.31972 | 10921.6431 | 26071.4701
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | SIDEWALK |  |  | 0 | 0 | 0 | 0 | 0
68 | C1-C3 | 4" THK. CONCRETE SIDEWALK W/ POLYURETHANE SELANT EXPANSIONS JOINTS @16'-0" O.C. | SF | 34964 | 1.6232 | 56753.9144 | 4.9946 | 174630.8308 | 231384.7452
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | APRON |  |  | 0 | 0 | 0 | 0 | 0
69 | C1-C3 | 4" THK. CONCRETE APRON W/ POLYURETHANE SELANT EXPANSIONS JOINTS @16'-0" O.C. | SF | 1181 | 2.2973 | 2713.1467 | 4.4036 | 5200.7044 | 7913.8511
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | RAMP |  |  | 0 | 0 | 0 | 0 | 0
70 | C1-C3 | 4" THK. CONCRETE RAMP W/ POLYURETHANE SELANT EXPANSIONS JOINTS @16'-0" O.C. | SF | 47 | 8.9143 | 418.9744 | 5.5208 | 259.4771 | 678.4516
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | PATIO |  |  | 0 | 0 | 0 | 0 | 0
71 | C1-C3 | 4" THK. CONCRETE PATIO W/ POLYURETHANE SELANT EXPANSIONS JOINTS @16'-0" O.C. | SF | 1287 | 2.2973 | 2956.6637 | 4.4036 | 5667.4907 | 8624.1544
72 |  | 4" THK. CONCRETE PATIO W/ POLYURETHANE SELANT EXPANSIONS JOINTS @16'-0" O.C. (SCORED CAST-IN PLACE CONCRETE) | SF | 433 | 2.2973 | 994.7439 | 4.4036 | 1906.7782 | 2901.522
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | CONCRETE PADS |  |  | 0 | 0 | 0 | 0 | 0
73 | C1-C3 | 4" THK. CONCRETE PAD FOR GAS METER | SF | 23 | 2.2973 | 52.8386 | 4.4036 | 101.2838 | 154.1224
74 |  | 4" THK. CONCRTEE PAD FOR CRANE POSTS. | SF | 188 | 2.2973 | 431.898 | 4.4036 | 827.8852 | 1259.7832
75 |  | 4" THK. CONCRETE PAD ABUTTING ASPHALT | SF | 1863 | 2.2973 | 4279.9258 | 4.4036 | 8203.9901 | 12483.9159
76 |  | 4" THK. CONCRETE GENERATOR PAD R/W #4 BARS @12" O.C. EACH WAY | SF | 391 | 2.2973 | 898.256 | 4.4036 | 1721.8251 | 2620.0811
77 |  | 8" THK. CONCRETE PAD FOR DUMPSTER (BRROM-FINISH) | SF | 255 | 2.5634 | 653.6746 | 3.3178 | 846.0427 | 1499.7173
78 |  | 8" THK. CONCRETE PAD FOR STRUCTURE (BRROM-FINISH) | SF | 288 | 4.0713 | 1172.543 | 4.8862 | 1407.2359 | 2579.779
79 |  | 5" THK. REINFORCED CONCRETE SLAB AT METAL STAIRS & PLATFORMS, TIE INTO GENSET PAD W/ 3'-0" LONG #6 BARS @24" O.C. SLEEVED 1-SIDE, IMBED 18" EACH SIDE | SF | 381 | 2.732 | 1040.8768 | 4.6449 | 1769.7223 | 2810.599
80 |  | 4" THK. CONCRETE UTILITY PAD | SF | 98 | 2.2973 | 225.1383 | 4.4036 | 431.5572 | 656.6955
81 |  | 4" THK. CONCRETE TRANSFORMER PAD | SF | 143 | 2.2973 | 328.5182 | 4.4036 | 629.7212 | 958.2394
82 |  | 4" THK. CONCRETE GENERATOR PAD R/W #4 BARS @12" O.C. EACH WAY | SF | 391 | 2.2973 | 898.256 | 4.4036 | 1721.8251 | 2620.0811
83 |  | 8" THK. CONCRETE PAD FOR DUMPSTER (BR0OM-FINISH) | SF | 255 | 4.0713 | 1038.1891 | 4.8862 | 1245.9902 | 2284.1793
84 |  | 6" THK. CONCRETE PAD FOR CARD READER ISLAND | SF | 32 | 3.273 | 104.737 | 4.7053 | 150.5685 | 255.3054
85 |  | 6" THK. CONCRETE PAD FOR ANTENA (ASSUMED) | SF | 721 | 3.273 | 2359.8546 | 4.7053 | 3392.4955 | 5752.3501
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | EXPANSION JOINTS |  |  | 0 | 0 | 0 | 0 | 0
86 |  | CONSTRUCTION JOINTS | LF | 16 | 0.86039 | 13.7662 | 1.0727 | 17.1633 | 30.9296
87 |  | EXPANSION JOINTS | LF | 31 | 0.86039 | 26.6721 | 1.0727 | 33.2539 | 59.926
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | CONCRETE FOOTINGS |  |  | 0 | 0 | 0 | 0 | 0
88 | C1-C3 | 6" DIA. X 2'-6" HIGH CONCRETE FOOTING FOR SIGNAGES | CY | 1.272 | 269.8431 | 343.238 | 426.6972 | 542.7549 | 885.9928
89 |  | 12" DIA. X 4'-0" HIGH CONCRETE FOOTING FOR FENCE | CY | 4.7 | 269.8431 | 1268.2628 | 426.6972 | 2005.4768 | 3273.7395
90 |  | 12" DIA. X 3'-6" HIGH CONCRETE FOOTING FOR BOLLARDS | CY | 6.9 | 269.8431 | 1861.9177 | 426.6972 | 2944.2106 | 4806.1283
91 |  | 24" DIA. X 7'-0" HIGH CONCRETE FOOTING FOR FLAG POLES (ASSUMED) -PROVIDE EARTHWORK | CY | 1.6281 | 269.8431 | 439.3446 | 426.6972 | 694.7262 | 1134.0708
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | PRECAST RETAINING WALL |  |  | 0 | 0 | 0 | 0 | 0
92 | C1-C3 | PRE-CAST CONCRETE BIG BLOCK RETAINING WALL (HEIGHT VARIES) - COMPACTED GRANULAR BACKFILL (INSTALL IN 12" LIFTS MAXIMUM) - NON WOVEN GEOTEXTILE - WOVEN GEOTEXTILE - 8" THK COMPACTED GRANULAR BACKFILL (OR UNREINFORCED CONCRETE) | SF | 528 | 10.8658 | 5737.116 | 13.6952 | 7231.0558 | 12968.1718
93 |  | 4" DIA PERFORATED PIPE | LF | 176 | 1.9958 | 351.252 | 5.7507 | 1012.1292 | 1363.3812
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | RETAINING WALLS |  |  | 0 | 0 | 0 | 0 | 0
94 | C1-C3 | 12" THK. CONCRETE RETAINING WALL W/ REINFORCEMENT | CY | 24.8889 | 324.642 | 8079.9787 | 350.3268 | 8719.2442 | 16799.2228
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | FORMWORK |  |  | 0 | 0 | 0 | 0 | 0
95 |  | FORMWORK REQUIRED | SF | 1344 | 1.774 | 2384.256 | 2.5054 | 3367.237 | 5751.493
|  | OPERAION BUILDING |  |  | 0 | 0 | 0 | 0 | 0
SLAB ON GRADE
96 |  | 4" THK. CONCRETE SLAB R/W 6X6-W2.9xW2.9 W.W.F OVER VAPOR BARRIER OVER RIGID INSULATION | SF | 4120 | 1.2773 | 5262.3936 | 3.0765 | 12675.2579 | 17937.6515
97 |  | 6" THK. CONCRETE SLAB R/W 6X6-W2.9xW2.9 W.W.F OVER VAPOR BARRIER OVER RIGID INSULATION | SF | 8324 | 2.253 | 18753.8055 | 3.3781 | 28119.624 | 46873.4296
98 |  | 10" THK. CONCRETE SLAB R/W #4@12" O.C. EACH WAY TOP & BOTTOM OVER VAPOR BARRIER OVER RIGID INSULATION | SF | 3238 | 3.9471 | 12780.8717 | 3.6798 | 11915.0561 | 24695.9278
99 |  | 6X6-W2.9xW2.9 W.W.F | SF | 12444 | 0.4435 | 5518.914 | 0.31972 | 3978.6335 | 9497.5475
100 |  | #4 BARS | LBS | 9517.1296 | 0.66525 | 6331.2705 | 0.49839 | 4743.2308 | 11074.5013
101 |  | CONTROL JOINTS | LF | 2472 | 0.86039 | 2126.8841 | 1.0727 | 2651.7342 | 4778.6183
CONCRETE TOPING
102 |  | CONCRETE TOPING OVER GALVANIZED METAL DECK (TOTAL THICKNESS 4") | SF | 35518 | 1.2773 | 45366.431 | 3.0765 | 109271.7983 | 154638.2293
103 |  | 6X6-W2.9xW2.9 W.W.F | SF | 35518 | 0.4435 | 15752.233 | 0.31972 | 11355.9229 | 27108.1559
CONTINOUS FOOTINGS
104 |  | 2'-0"X1'-0" CONT. CONCRETE FOOTING R/W 3-#5 BARS | CY | 42 | 206.2275 | 8661.555 | 332.514 | 13965.588 | 22627.143
105 |  | 2'-0"X1'-0" CONT. HAUNCHED CONCRETE FOOTING R/W 3-#5 BARS | CY | 12.4444 | 206.2275 | 2566.3867 | 332.514 | 4137.952 | 6704.3387
106 |  | 2'-4"X1'-0" CONT. CONCRETE FOOTING R/W 3-#5 BARS | CY | 9.6652 | 206.2275 | 1993.227 | 332.514 | 3213.8094 | 5207.0364
107 |  | 2'-8"X1'-0" CONT. CONCRETE FOOTING R/W 3-#5 BARS | CY | 4.8456 | 206.2275 | 999.2868 | 332.514 | 1611.2151 | 2610.5019
108 |  | #5 BARS | LBS | 3083.9424 | 0.66525 | 2051.5927 | 0.49839 | 1537.0024 | 3588.595
ISOLATED FOOTING
109 |  | F3.5A: 3'-6"x3'-6"x1'-0" CONCRETE FOOTING R/W 6-#5 EACH WAY TOP AND BOTTOM NO. 10 | CY | 4.537 | 202.3824 | 918.2162 | 384.0275 | 1742.3469 | 2660.5631
110 |  | F4.5A: 4'-6"x4'-6"x1'-0" CONCRETE FOOTING R/W 7-#5 EACH WAY TOP AND BOTTOM NO. 14 | CY | 10.5 | 202.3824 | 2125.0147 | 384.0275 | 4032.2884 | 6157.3032
111 |  | F5.0A: 5'-0"x5'-0"x1'-0" CONCRETE FOOTING R/W 8-#5 EACH WAY TOP AND BOTTOM NO. 2 | CY | 1.8519 | 202.3824 | 374.7821 | 384.0275 | 711.162 | 1085.9441
112 |  | F6.0A: 6'-0"x6'-0"x1'-6" CONCRETE FOOTING R/W 8-#5 EACH WAY TOP AND BOTTOM NO. 1 | CY | 2 | 202.3824 | 404.7647 | 384.0275 | 768.0549 | 1172.8197
113 |  | F6.5A: 6'-6"x3'6"x1'-0" CONCRETE FOOTING R/W 10-#5 SHORT TOP & BOTTOM AND 6-#5 LONG TOP & BOTTOM NO. 3 | CY | 2.5278 | 202.3824 | 511.5776 | 384.0275 | 970.7361 | 1482.3137
114 |  | F8.0A: 8'-0"x5'-0"x2'-0" CONCRETE FOOTING R/W 12-#5 SHORT TOP & BOTTOM AND 8-#5 LONG TOP & BOTTOM NO. 1 | CY | 2.963 | 202.3824 | 599.6514 | 384.0275 | 1137.8592 | 1737.5106
115 |  | #5 BARS | LBS | 4648.8596 | 0.66525 | 3092.6538 | 0.49839 | 2316.9396 | 5409.5934
STEM WALLS
116 |  | 8" THK. CONCRETE STEM WALL | CY | 51.2054 | 243.4815 | 12467.5604 | 315.2941 | 16144.751 | 28612.3114
117 |  | 12" THK. CONCRETE STEM WALL | CY | 11.9489 | 243.4815 | 2909.3334 | 315.2941 | 3767.4141 | 6676.7475
118 |  | 16" THK. CONCRETE STEM WALL | CY | 11.0341 | 243.4815 | 2686.5929 | 315.2941 | 3478.9784 | 6165.5713
119 |  | #4 BARS | LBS | 7671.312 | 0.66525 | 5103.3403 | 0.49839 | 3823.296 | 8926.6363
CONCRETE APRON
120 |  | 6" THK. CONCRETE APRON R/W 6x6-W2.9XW2.9 WWF | SF | 1112 | 2.2973 | 2554.631 | 4.4036 | 4896.8529 | 7451.4839
PIERS
121 |  | 16"x16" CONCRETE PIER R/W 4-#8 BARS AND #4 TIES @12" O.C. NO. OF PIERS @2'-6" HT: 4 EA NO. OF PIERS @3'-6" HT: 31 EA | CY | 7.7635 | 779.1408 | 6048.8639 | 402.7049 | 3126.4015 | 9175.2655
122 |  | #8 BARS | LBS | 1392.138 | 0.61203 | 852.0302 | 0.39871 | 555.0608 | 1407.091
123 |  | #4 BARS | LBS | 463.2326 | 0.66525 | 308.1655 | 0.49839 | 230.8699 | 539.0354
FORMWORK
124 |  | FORMWORK REQUIRED | SF | 6346 | 1.774 | 11257.804 | 2.5054 | 15899.1713 | 27156.9753
ADD ALTERNATE
LINE NO. | DWG REF./ CSI SEC. | ITEM DESCRIPTION | UNIT OF MEASURE | QUANTITY | MATERIAL |  | LABOR |  | LINE TOTAL | TRADE TOTAL
[5 empty] | UNIT PRICE | TOTAL COST | UNIT PRICE | TOTAL COST
| ALT-1 | FIRE TRAINING COMPLEX | SUBTOTAL MATERIAL |  | 21769.7832 | 0 | 29829.1298 | 0 | 51598.913 | 72798.9547
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | SLAB ON GRADE |  |  | 0 | 0 | 0 | 0 | 0
125 | S801,S802 | 6"THK. CONCRETE SLAB ON GRADE REINFORCED W/ -6x6-W2.9xW2.9 W.W.F. -VAPOR BARRIER UNDER SLAB | SF | 1586.94 | 3.273 | 5194.1022 | 4.7053 | 7466.972 | 12661.0742
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | THICKNED EDGE |  |  | 0 | 0 | 0 | 0 | 0
126 |  | 8"THK. x 8"H CONCRETE SLAB THICKEND EDGE REINFORCED W/ -(1) #4 CONTINUOUS REBAR | CY | 0.44325 | 206.2275 | 91.4098 | 332.514 | 147.3859 | 238.7957
127 |  | #4 REBARS | LBS | 19.5898 | 0.66525 | 13.0321 | 0.49839 | 9.7633 | 22.7954
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | CONTROL JOINT |  |  | 0 | 0 | 0 | 0 | 0
128 |  | CJ: CONTROL JOINT ON SLAB | LF | 340.8 | 0.83378 | 284.1522 | 2.7085 | 923.065 | 1207.2172
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | WIRE MESH |  |  | 0 | 0 | 0 | 0 | 0
129 | S801,S802 | 6x6-W2.9xW2.9 W.W.F. WELDED WIRE MESH IN CONCRETE SLAB | SF | 1586.94 | 0.4435 | 703.8079 | 0.31972 | 507.3813 | 1211.1892
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | CONCRETE CURB |  |  | 0 | 0 | 0 | 0 | 0
130 | S801,S802 | 6"THK. x 3"H CONCRETE CURB REINFORCED W/ -(1) #3 CONTINUOUS REBAR -#3 DOWEL @ 12" O.C. (DRILL & FILL CONCRETE W/ HILTI HY-100 ADHESIVE 4" MINIMUM EMBED.) | LF | 15.33 | 3.0779 | 47.1841 | 8.4087 | 128.9057 | 176.0897
131 |  | #3 REBARS | LBS | 9.5107 | 0.77169 | 7.3393 | 0.54823 | 5.214 | 12.5534
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | FOOTINGS |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | ISOLATED FOOTINGS |  |  | 0 | 0 | 0 | 0 | 0
132 | S801,S802 | F4.0A: 4'-0" x 4'-0" x 1'-0" DEEP ISOLATED FOOTING REINFORCED W/ -(6) #5 REBARS E.W., T&B -NON-WOVEN GEOTEXTILE FABRIC (SEE GEOTECHNICAL REPORT FOR ADD'L INFO) | CY | 2.3704 | 202.3824 | 479.7211 | 384.0275 | 910.2873 | 1390.0085
133 |  | F6.0A: 6'-0" x 6'-0" x 1'-6" DEEP ISOLATED FOOTING REINFORCED W/ -(10) #5 REBARS E.W., T&B -NON-WOVEN GEOTEXTILE FABRIC (SEE GEOTECHNICAL REPORT FOR ADD'L INFO) | CY | 12 | 202.3824 | 2428.5883 | 384.0275 | 4608.3296 | 7036.9179
134 |  | F9.5A: 9'-6" x 9'-6" x 2'-0" DEEP ISOLATED FOOTING REINFORCED W/ -(14) #5 REBARS E.W., T&B -NON-WOVEN GEOTEXTILE FABRIC (SEE GEOTECHNICAL REPORT FOR ADD'L INFO) | CY | 13.3704 | 202.3824 | 2705.927 | 384.0275 | 5134.5895 | 7840.5166
135 |  | #5 REBARS | LBS | 995.8564 | 0.7096 | 706.6597 | 0.44855 | 446.6913 | 1153.351
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | PIERS |  |  | 0 | 0 | 0 | 0 | 0
136 | S801,S802 | P1: 1'-4" x 1'-8" x 3'-9"DEEP CONCRETE PIER REINFORCED W/ -(4) #8 VERTICAL REBARS W/ -(1) #4 TIES @ 12" O.C. (2 ADD'L TIES @ 2" O.C. AT TOP) | CY | 3.7018 | 779.1408 | 2884.2494 | 402.7049 | 1490.7463 | 4374.9957
137 |  | #4 REBARS | LBS | 54.3752 | 0.66525 | 36.1731 | 0.49839 | 27.1 | 63.2731
138 |  | #8 REBARS | LBS | 140.976 | 0.61203 | 86.2815 | 0.39871 | 56.2087 | 142.4902
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | CONTINUOUS FOOTINGS |  |  | 0 | 0 | 0 | 0 | 0
139 | S801,S802 | 1'-6"THK. x 1'-0"DEEP CONTINUOUS FOOTING REINFORCED W/ -(3) #5 CONTINUOUS REBARS | CY | 0.29611 | 206.2275 | 61.0663 | 332.514 | 98.4611 | 159.5273
140 |  | 2'-0"THK. x 1'-0"DEEP CONTINUOUS FOOTING REINFORCED W/ -(3) #5 CONTINUOUS REBARS | CY | 9.0622 | 206.2275 | 1868.8794 | 332.514 | 3013.3158 | 4882.1952
141 |  | #5 REBARS | LBS | 439.4274 | 0.7096 | 311.8177 | 0.44855 | 197.1051 | 508.9228
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | STEM WALLS |  |  | 0 | 0 | 0 | 0 | 0
142 | S801,S802 | 6"THK. x 3'-9"H CONCRETE STEM WALL REINFORCED W/ -(2) #4 CONTINEOUS REBARS -#4 VERTICAL REBARS @ 12" O.C. (ALT. HOOK DIRECT EVERY OTHER BAR) | CY | 11.4924 | 243.4815 | 2798.1773 | 315.2941 | 3623.4736 | 6421.6509
143 |  | 6"THK. x 3'-9"H CONCRETE STEM WALL REINFORCED W/ -(2) #4 CONTINEOUS REBARS -#4 VERTICAL REBARS @ 12" O.C. (ALT. HOOK DIRECT EVERY OTHER BAR) -#4 BENT DOWEL (24"x24") @ 12" O.C. | CY | 1.5792 | 243.4815 | 384.4979 | 315.2941 | 497.9019 | 882.3998
144 |  | 6"THK. x 3'-9"H CONCRETE STEM WALL REINFORCED W/ -(2) #4 CONTINEOUS REBARS -#4 VERTICAL REBARS @ 12" O.C. (ALT. HOOK DIRECT EVERY OTHER BAR) -(2) #4 BENT DOWEL (24"x24") @ 12" O.C. | CY | 0.22014 | 243.4815 | 53.5997 | 315.2941 | 69.4085 | 123.0082
145 |  | #4 REBARS | LBS | 936.6661 | 0.66525 | 623.1171 | 0.49839 | 466.8239 | 1089.941
[5 empty] | 0 | 0 | 0 | 0 | 0
| ALT-2 | CARPORT | SUBTOTAL MATERIAL |  | 5733.7019 | 0 | 8201.1448 | 0 | 13934.8467 | 19665.7121
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | FOOTINGS |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | CONCRETE FOOTINGS |  |  | 0 | 0 | 0 | 0 | 0
146 | S801,S802 | F5.0A: 5'-0" x 5'-0" x 1'-0" CONCRETE FOOTING (7)#5 E.W.T&B | CY | 12.037 | 202.3824 | 2436.0839 | 384.0275 | 4622.5529 | 7058.6368
|  | PIERS FOOTINGS |  |  | 0 | 0 | 0 | 0 | 0
147 |  | 1'-4" x 1'-4" x 3'-6"H ISOLATED FOOTING W/ (8)8# VERT. TIES & (2)#4 @ 12" O.C. (4AD'L TIES @ 2" O.C. TOP) | CY | 2.9809 | 202.3824 | 603.2864 | 384.0275 | 1144.7567 | 1748.0432
REBARS
146 |  | #4 REBARS | LBS | 455.6495 | 0.66525 | 303.1208 | 0.49839 | 227.0906 | 530.2114
146 |  | #5 REBARS | LBS | 2088.086 | 0.7096 | 1481.7058 | 0.44855 | 936.6108 | 2418.3166
147 |  | #8 REBARS | LBS | 30.8 | 0.61203 | 18.8505 | 0.39871 | 12.2803 | 31.1308
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | FOARM WORK |  |  | 0 | 0 | 0 | 0 | 0
148 | S801,S802 | FORMWORK REQUIRED | SF | 502.06 | 1.774 | 890.6544 | 2.5054 | 1257.8534 | 2148.5079
[5 empty] | 0 | 0 | 0 | 0 | 0

## Site work
CONSTRUCTION COST ESTIMATE BREAKDOWN
CONTRACTOR | [5 empty] | ADDRESS
[6 empty] | TOTAL MATERIAL COST |  |  |  | 1964704.8275
[6 empty] | TOTAL LABOR COST |  |  |  | 3118379.4655
[6 empty] | SUBTOTAL |  |  |  | 5083084.2929
[6 empty] | SALES TAX |  |  | 6.25% | 122794.0517
[6 empty] | LABOR BURDEN |  |  | 10% | 311837.9465
[6 empty] | OVERHEAD & PROFIT |  |  | 25% | 1270771.0732
[6 empty] | BONDING |  |  | 2% | 135769.7473
[6 empty] | CONTINGENCY / WASTAGE |  |  | 5% | 254154.2146
[6 empty] | PROPOSED PROJECT AMOUNT |  |  |  | 7178411.3263
[6 empty] | TOTAL MANHOURS |  |  |  | 41197.384
DATE |  | PROJECT NAME | SCOPE OF WORK |  |  |  | PROJECT LOCATION
2024-03-27 |  | TAUNTON PUBLIC SAFETY COMPLEX | CONCRETE & SITE WORKS
LINE NO. | DWG REF./ CSI SEC. | ITEM DESCRIPTION | UNIT OF MEASURE | QUANTITY | MATERIAL |  | LABOR |  | LINE TOTAL | TRADE TOTAL W/ S.TAX, O&P
[5 empty] | UNIT PRICE | TOTAL COST | UNIT PRICE | TOTAL COST
| DIV. 01 | GENERAL REQUIREMENTS |  |  | 0 | 0 | 375500 | 0 | 375500 | 535838.5
[5 empty] | 0 | 0 | 0 | 0 | 0
1 |  | PERMITS | LS | 1 | 0 | 0 | 5500 | 5500 | 5500
2 |  | SITE SUPERVISION | LS | 1 | 0 | 0 | 245000 | 245000 | 245000
3 |  | FINAL CLEANUP | LS | 1 | 0 | 0 | 95500 | 95500 | 95500
4 |  | DUMPSTER | LS | 1 | 0 | 0 | 29500 | 29500 | 29500
[5 empty] | 0 | 0 | 0 | 0 | 0
| DIV. 32 | EXTERIOR IMPROVEMENTS |  |  | 1538030.6205 | 0 | 2012384.2933 | 0 | 3550414.9138 | 5007612.4107
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | GRAVEL BASE |  |  | 0 | 0 | 0 | 0 | 0
5 | C1-C3 | 4" THK. CRUSHED STONE BASE AT UTILITY YARD | SF | 2369 | 0.78943 | 1870.1597 | 0.60324 | 1429.0732 | 3299.2329
6 |  | 6" THK. STONE SURFACE FOR ANTENA | SF | 1645 | 0.84265 | 1386.1592 | 0.66356 | 1091.561 | 2477.7202
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | SIDEWALK & RAMP GRAVEL BASE |  |  | 0 | 0 | 0 | 0 | 0
7 | C1-C3 | 8" THK. GRAVEL BORROW BASE, COMPACTED TO 95% | SF | 11383 | 0.86039 | 9793.8194 | 0.84453 | 9613.3374 | 19407.1567
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | CONCRETE PADS GRAVEL BASE |  |  | 0 | 0 | 0 | 0 | 0
8 | C1-C3 | 8" THK CRUSHED STONE (COMPACTED TO 95%) | SF | 23581 | 0.86039 | 20288.8566 | 0.84453 | 19914.9704 | 40203.827
9 |  | 18" THK. GRAVEL BORROW BASE COMPACTED TO 95% AT DUMPSTER | SF | 255 | 1.5079 | 384.5145 | 1.5684 | 399.9475 | 784.462
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | PAVEMENT BASES |  |  | 0 | 0 | 0 | 0 | 0
10 | C1-C3 | 4" THK. COMPACTED DENSE GRADED CRUSHED STONE | SF | 216510 | 0.78943 | 170919.4893 | 0.60324 | 130607.2759 | 301526.7652
11 |  | 8" THK. MIN. COMPACTED GRAVEL SUB-BASE | SF | 83680 | 0.86039 | 71997.4352 | 0.84453 | 70670.6553 | 142668.0905
12 |  | 16" THK. MIN. COMPACTED GRAVEL SUB-BASE | SF | 132830 | 1.3394 | 177908.5171 | 1.5081 | 200320.5909 | 378229.108
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | BUILDING STONE/GRAVEL BASE |  |  | 0 | 0 | 0 | 0 | 0
13 | S100-S101B | 12" THICK COMPACTED SAND & GRAVEL FOR SLAB | SF | 46142.63 | 1.02 | 47067.7897 | 1.3271 | 61237.0748 | 108304.8645
14 |  | 12" THICK COMPACTED SAND & GRAVEL FOR RAMP | SF | 298 | 1.02 | 303.9749 | 1.3271 | 395.4835 | 699.4584
15 |  | 6" THICK COMPACTED CRUSHED STONE FOR FOOTING | SF | 7138 | 0.84265 | 6014.8357 | 0.66356 | 4736.512 | 10751.3477
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | EARTHWORK (FOOTING, WALL & TRENCHING) |  |  | 0 | 0 | 0 | 0 | 0
| S100-S101B |  |  |  | 0 | 0 | 0 | 0 | 0
|  | EARTHWORK FOR STEM WALL |  |  | 0 | 0 | 0 | 0 | 0
16 |  | EXCAVATION REQUIRED FOR STEM WALL | CY | 512.5556 | 0 | 0 | 36.4184 | 18666.472 | 18666.472
17 |  | COMPACTED BACKFILL | CY | 246.8852 | 0 | 0 | 19.3624 | 4780.2846 | 4780.2846
18 |  | HAULOFF | CY | 265.6704 | 0 | 0 | 9.9225 | 2636.1273 | 2636.1273
19 |  | TRUCKING | HRS | 13.2835 | 0 | 0 | 130 | 1726.8574 | 1726.8574
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | EARTHWORK FOR FOOTING |  |  | 0 | 0 | 0 | 0 | 0
20 |  | EXCAVATION REQUIRED FOR FOOTING | CY | 544.8148 | 0 | 0 | 36.4184 | 19841.3038 | 19841.3038
21 |  | COMPACTED BACKFILL | CY | 123.5148 | 0 | 0 | 19.3624 | 2391.5407 | 2391.5407
22 |  | HAULOFF | CY | 421.3 | 0 | 0 | 9.9225 | 4180.3699 | 4180.3699
23 |  | TRUCKING | HRS | 21.065 | 0 | 0 | 130 | 2738.45 | 2738.45
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | EARTHWORK (TRENCHING) |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0
| PU101,PU102 | EARTHWORK FOR PIPING |  |  | 0 | 0 | 0 | 0 | 0
24 |  | EXCAVATION REQUIRED FOR PIPING | CY | 555.1 | 0 | 0 | 36.4184 | 20215.8742 | 20215.8742
25 |  | COMPACTED BACKFILL | CY | 540.1 | 0 | 0 | 19.3624 | 10457.6211 | 10457.6211
26 |  | HAULOFF | CY | 15 | 0 | 0 | 9.9225 | 148.8382 | 148.8382
27 |  | TRUCKING | HRS | 0.75 | 0 | 0 | 130 | 97.5 | 97.5
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | PAVER |  |  | 0 | 0 | 0 | 0 | 0
28 | C1-C3 | GRANITE BLOCK PAVER PATIO | SF | 260 | 23.5055 | 6111.43 | 18.5227 | 4815.8984 | 10927.3284
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | DEMOLITION |  |  | 0 | 0 | 0 | 0 | 0
29 | C1-C3 | REMOVE EXISITNG GRANITE CURB. PROVIDE IT TO TAUTION DPW. PLACE NEW BINDER (4" THK) COURSE | LF | 189 | 0 | 0 | 8.8498 | 1672.6199 | 1672.6199
30 |  | REMOVE EXISITNG OVERHEAD WIRES | LF | 1423 | 0 | 0 | 6.0072 | 8548.1955 | 8548.1955
31 |  | REMOVE EXISTING GAS LINE | LF | 288 | 0 | 0 | 3.4863 | 1004.0547 | 1004.0547
32 |  | REMOVE EXISTING GAS LINE | EA | 1 | 0 | 0 | 72.4078 | 72.4078 | 72.4078
33 |  | REMOVE EXISTING GAS LINE | EA | 7 | 0 | 0 | 72.4078 | 506.8545 | 506.8545
34 |  | REMOVE EXISTING STONE WALL. RETAIN STONES FOR FUTURE RE-USE | LF | 34 | 0 | 0 | 22.2587 | 756.7955 | 756.7955
35 |  | SAW CUT EXISTING DRIVEWAY | LF | 77 | 0 | 0 | 5.1163 | 393.9518 | 393.9518
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | TEMPORARY CONSTRUCTION |  |  | 0 | 0 | 0 | 0 | 0
36 | C1-C3 | 6'-0" HIGH TEMPORARY CONSTRUCTION FENCE AN GATES. PROVIDE "NO TRESPASSING" SIGNS | LF | 175 | 22.175 | 3880.625 | 9.8797 | 1728.9527 | 5609.5777
37 |  | 3'-0"x3'-6" "SIDEWALK CLOSED AHEAD" MTCD COMPLIANT SIGN W/ TWO 50-LB SANDBAG ANCHORS EACH SIDE. PROVIDE 1x4 PRESSURE TREATED BASE BOARD | EA | 2 | 172.965 | 345.93 | 91.543 | 183.0859 | 529.0159
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | PROTECT & PRESERVE |  |  | 0 | 0 | 0 | 0 | 0
38 |  | PROTECT EXISTING TREES | LF | 2150 | 3.273 | 7037.0145 | 2.5563 | 5496.0315 | 12533.046
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | CLEARING |  |  | 0 | 0 | 0 | 0 | 0
39 |  | REMOVE EXISTING 5" TOPSOIL | SF | 509639 | 0 | 0 | 0.26818 | 136673.4581 | 136673.4581
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | SIGNAGES |  |  | 0 | 0 | 0 | 0 | 0
40 | C1-C3 | R1-1: 24" OCTAGONAL STOP SIGN W/ 7/64" GALV. COLD ROLLED STEEL POSTS @10'-0" HT. -PRIME AND PAINT AND PROVIDE TWO PIECE RIVET 13/16" PIN & COLLAR, STAINLESS STEEL OR BOLT & NUT WELDED | EA | 4 | 328.19 | 1312.76 | 157.433 | 629.7318 | 1942.4918
41 |  | AT-V0: 24"x8" "AUTHORIZED VEHICLE ONLY" SIGN | EA | 6 | 221.75 | 1330.5 | 67.7131 | 406.2786 | 1736.7786
42 |  | R5-1: 24"x24" " DO NOT ENTER" SIGN W/ 7/64" GALV. COLD ROLLED STEEL POSTS @10'-0" HT. -PRIME AND PAINT AND PROVIDE TWO PIECE RIVET 13/16" PIN & COLLAR, STAINLESS STEEL OR BOLT & NUT WELDED | EA | 7 | 332.625 | 2328.375 | 157.433 | 1102.0307 | 3430.4057
43 |  | R7-1: 12"X18" "NO PARKING ANY TIME" SIGN W/ 7/64" GALV. COLD ROLLED STEEL POSTS @10'-0" HT. -PRIME AND PAINT AND PROVIDE TWO PIECE RIVET 13/16" PIN & COLLAR, STAINLESS STEEL OR BOLT & NUT WELDED | EA | 24 | 310.45 | 7450.8 | 157.433 | 3778.391 | 11229.191
44 |  | R7-8: 12"X18" RESERVED PARKING SIGN W/ 12"X6" VAN ACCESSIBLE SIGN W/ 7/64" GALV. COLD ROLLED STEEL POSTS @10'-0" HT. -PRIME AND PAINT AND PROVIDE TWO PIECE RIVET 13/16" PIN & COLLAR, STAINLESS STEEL OR BOLT & NUT WELDED | EA | 5 | 310.45 | 1552.25 | 157.433 | 787.1648 | 2339.4148
45 |  | R7-9: 12"X18" RESERVED PARKING SIGN W/ 7/64" GALV. COLD ROLLED STEEL POSTS @10'-0" HT. -PRIME AND PAINT AND PROVIDE TWO PIECE RIVET 13/16" PIN & COLLAR, STAINLESS STEEL OR BOLT & NUT WELDED | EA | 8 | 310.45 | 2483.6 | 157.433 | 1259.4637 | 3743.0637
46 |  | R7-9: 12"X18" POLICE RESERVED PARKING SIGN W/ 7/64" GALV. COLD ROLLED STEEL POSTS @10'-0" HT. -PRIME AND PAINT AND PROVIDE TWO PIECE RIVET 13/16" PIN & COLLAR, STAINLESS STEEL OR BOLT & NUT WELDED | EA | 12 | 310.45 | 3725.4 | 157.433 | 1889.1955 | 5614.5955
47 |  | W11-2: 24" TRI-ANGULAR CUSTOM SIGN "PEDESTRIAN CROSSING" W/ 7/64" GALV. COLD ROLLED STEEL POSTS @10'-0" HT. -PRIME AND PAINT AND PROVIDE TWO PIECE RIVET 13/16" PIN & COLLAR, STAINLESS STEEL OR BOLT & NUT WELDED | EA | 2 | 328.19 | 656.38 | 157.433 | 314.8659 | 971.2459
48 |  | W11-2: 24" TRI-ANGULAR CUSTOM SIGN "DO NOT TRAVEL IN STRIPED CENTER LINE" W/ 7/64" GALV. COLD ROLLED STEEL POSTS @10'-0" HT. -PRIME AND PAINT AND PROVIDE TWO PIECE RIVET 13/16" PIN & COLLAR, STAINLESS STEEL OR BOLT & NUT WELDED | EA | 4 | 328.19 | 1312.76 | 157.433 | 629.7318 | 1942.4918
49 |  | W11-8: 24" TRI-ANGULAR SIGN "CAUTION EMERGENCY ENTERING" W/ 7/64" GALV. COLD ROLLED STEEL POSTS @10'-0" HT. -PRIME AND PAINT AND PROVIDE TWO PIECE RIVET 13/16" PIN & COLLAR, STAINLESS STEEL OR BOLT & NUT WELDED | EA | 4 | 328.19 | 1312.76 | 157.433 | 629.7318 | 1942.4918
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | LIGHT POLE FOOTING |  |  | 0 | 0 | 0 | 0 | 0
50 | C1-C3 | 18" DIA. X 7'-0" HIGH PRECAST CONCRETE FOOTING/BASES R/W #3 REBAR HOOPS @12" O.C. -PROVIDE 6" THK. CRUSHED COMPACTED STONE BASES | EA | 32 | 269.8431 | 8634.9805 | 426.6972 | 13654.3101 | 22289.2905
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | PAVEMENT |  |  | 0 | 0 | 0 | 0 | 0
51 | C1-C3 | LIGHT DUTY ASPHALT PAVEMENT - 1.5" BITUMINOUS CONCRETE TOP COURSE OVER 2-1/2" BITUMINOUS CONCRETE BINDER COURSE | SF | 216511 | 1.9958 | 432101.8283 | 1.7276 | 374040.554 | 806142.3823
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | GRADING |  |  | 0 | 0 | 0 | 0 | 0
52 | C1-C3 | CUT | CY | 4331.5 | 0 | 0 | 9.1717 | 39727.0167 | 39727.0167
53 |  | FILL | CY | 25850.8 | 0 | 0 | 5.9535 | 153903.4978 | 153903.4978
54 |  | NET FILL | CY | 21519.3 | 7.5395 | 162244.7624 | 0 | 0 | 162244.7624
55 |  | TRUCKING | HRS | 1075.965 | 0 | 0 | 130 | 139875.45 | 139875.45
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | CURB |  |  | 0 | 0 | 0 | 0 | 0
56 | C1-C3 | 6" HIGH PRE-CAST CONCRETE CURB STEEL REINFORCED | LF | 7108 | 8.9587 | 63678.4396 | 7.3026 | 51907.0156 | 115585.4552
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | CHAINLINK FENCE AND GATES |  |  | 0 | 0 | 0 | 0 | 0
57 | C1-C3 | 4'-0" HIGH CHAINLINK FENCE ANCHORED TO RETAINING WALL -6 GAUGE VINYL COATED FABRIC W/ VINYL COATED STEEL TIES @12" O.C. PROVIDE 1-5/8" O.D VINYL COATED STEEL PIPE TOP & MID RAIL AND 4" O.D VINYL COATED STEEL POSTS @10'-0" O.C. PROVIDE TENSION BAR AT CORNERS | LF | 54 | 10.8924 | 588.1874 | 5.9417 | 320.8494 | 909.0368
58 |  | 8'-0" HIGH CHAINLINK FENCE ANCHORED TO RETAINING WALL -6 GAUGE VINYL COATED FABRIC W/ VINYL COATED STEEL TIES @12" O.C. PROVIDE 1-5/8" O.D VINYL COATED STEEL PIPE TOP & MID RAIL AND 4" O.D VINYL COATED STEEL POSTS @10'-0" O.C. PROVIDE TENSION BAR AT CORNERS | LF | 108 | 25.2795 | 2730.186 | 13.4724 | 1455.0148 | 4185.2008
59 |  | 8'-0" HIGH CHAINLINK FENCE -6 GAUGE VINYL COATED FABRIC W/ VINYL COATED STEEL TIES @12" O.C. PROVIDE 1-5/8" O.D VINYL COATED STEEL PIPE TOP & MID RAIL AND 4" O.D VINYL COATED STEEL POSTS @10'-0" O.C. PROVIDE TENSION BAR AT CORNERS | LF | 201 | 25.2795 | 5081.1795 | 13.4724 | 2707.9441 | 7789.1236
60 |  | 8'-0" HIGH CHAINLINK FENCE W/ PRIVACY SLATS -6 GAUGE VINYL COATED FABRIC W/ VINYL COATED STEEL TIES @12" O.C. PROVIDE 1-5/8" O.D VINYL COATED STEEL PIPE TOP & MID RAIL AND 4" O.D VINYL COATED STEEL POSTS @10'-0" O.C. PROVIDE TENSION BAR AT CORNERS | LF | 37 | 25.2795 | 935.3415 | 13.4724 | 498.4773 | 1433.8188
61 |  | 8'-0" HIGH CHANLINK ENCLOSURE AROUND ANTENA W/ 10'-0" WIDE SINGLE MAN-GATE -6 GAUGE VINYL COATED FABRIC W/ VINYL COATED STEEL TIES @12" O.C. PROVIDE 1-5/8" O.D VINYL COATED STEEL PIPE TOP & MID RAIL AND 4" O.D VINYL COATED STEEL POSTS @10'-0" O.C. PROVIDE TENSION BAR AT CORNERS | LF | 164 | 25.2795 | 4145.838 | 13.4724 | 2209.4669 | 6355.3049
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | GATES |  |  | 0 | 0 | 0 | 0 | 0
62 |  | 2- 10'-0" WIDE x 8'-0" HIGH SWING GATES W/ WHEEL & STOPS -NO DETAILS | EA | 1 | 1410.33 | 1410.33 | 330.591 | 330.591 | 1740.921
63 |  | 28'-0" WIDE ENTRY & EXIT GATES -NO DETAILS | EA | 1 | 1680.865 | 1680.865 | 276.3561 | 276.3561 | 1957.2211
64 |  | 4'-0" WIDE x 8'-0" CHAINLINK MANWAY GATE FOR GENERATOR | EA | 1 | 252.795 | 252.795 | 91.543 | 91.543 | 344.338
65 |  | 16'-0"x8'-0" CHAIN LINK FRONT GATE FOR DUMPSTER | EA | 1 | 1130.925 | 1130.925 | 241.8116 | 241.8116 | 1372.7366
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | EARTHWORK |  |  | 0 | 0 | 0 | 0 | 0
66 |  | EXCAVATION REQUIRED | CY | 18.7004 | 0 | 0 | 36.4184 | 681.041 | 681.041
67 |  | GRAVEL BACKFILL | CY | 4.6519 | 42.576 | 198.0572 | 19.3624 | 90.0709 | 288.1282
68 |  | HAULOFF | CY | 18.7 | 0 | 0 | 9.9225 | 185.5517 | 185.5517
69 |  | TRUCKING | HRS | 0.935 | 0 | 0 | 130 | 121.55 | 121.55
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | STONE SURFACING |  |  | 0 | 0 | 0 | 0 | 0
70 | C1-C3 | 4" THK (3/4" WASHED) CRUSHED STONE SURFACING AT STORM BASIN | SF | 15737 | 1.641 | 25823.6302 | 2.413 | 37972.6886 | 63796.3187
71 |  | 4" THK (3/4" WASHED) CRUSHED STONE GRAVEL SURFACE | SF | 1849 | 1.641 | 3034.1166 | 2.413 | 4461.5556 | 7495.6722
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | EROSION CONTROL |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | ENTRANCE /EXIT PAD |  |  | 0 | 0 | 0 | 0 | 0
72 | C1-C3 | 12" THK (1-1/2" CRUSHED STONE) CONSTRUCTION ENTRANCE - GEOTEXTILE FABRIC SIZE: 20' x 50' | EA | 1 | 1108.75 | 1108.75 | 2266.0957 | 2266.0957 | 3374.8457
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | SILTATION BARRIER |  |  | 0 | 0 | 0 | 0 | 0
73 |  | EROSION CONTROL BARRIER, TWO (2) 1"x1"x24" TO FORM AN X BEHIND THE WATTLE, 12" APART AT BASE SPACED 36" - WOOD STAKES, EXTERIOR TO BE BIODEGRADEABLE JUTE OR OTHER - STRAW WATTLE(18"-24" DIA) | LF | 5125 | 1.9958 | 10228.2188 | 2.2527 | 11545.0199 | 21773.2386
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | DUST DRIVE |  |  | 0 | 0 | 0 | 0 | 0
74 |  | STONE DUST DRIVE | SF | 121 | 1.1088 | 134.1588 | 2.1454 | 259.5953 | 393.7541
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | FILTER DRAIN |  |  | 0 | 0 | 0 | 0 | 0
75 |  | 5'-0" WIDE 2'-0" DEEP (3/4"- 1-1/2" CLEAN TRAP ROCK) FILTER TRENCH | LF | 145 | 259.004 | 37555.58 | 45.2039 | 6554.5695 | 44110.1495
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | SWALE |  |  | 0 | 0 | 0 | 0 | 0
76 |  | PAVED SWALE | SF | 15 | 1.091 | 16.3651 | 0.96544 | 14.4816 | 30.8467
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | CLEAN & MAINTAIN |  |  | 0 | 0 | 0 | 0 | 0
77 |  | CLEAN EXISTING CATCH BASINS AND MAINTAIN | EA | 3 | 31.045 | 93.135 | 187.7239 | 563.1717 | 656.3067
78 |  | MAINTAIN AND PROTECT EXISTING DRAIN SEWER MANHOLES | EA | 3 | 110.875 | 332.625 | 231.9731 | 695.9193 | 1028.5443
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | PAVEMENT MARKING |  |  | 0 | 0 | 0 | 0 | 0
79 | C1-C3 | 2'-0"x2'-0" PAINETD "EV" SYMBOL | EA | 1 | 133.05 | 133.05 | 201.8826 | 201.8826 | 334.9326
80 |  | 4" WIDE CROSSWALK STRIPS | LF | 484 | 0.75395 | 364.9118 | 2.2626 | 1095.11 | 1460.0218
81 |  | 4" WIDE YELLOW PARKING STRIPING | LF | 7180 | 0.75395 | 5413.361 | 2.2626 | 16245.6403 | 21659.0013
82 |  | ACCESSIBLE PARKING SYMBOL | EA | 8 | 133.05 | 1064.4 | 201.8826 | 1615.061 | 2679.461
83 |  | CONT. TACTILE STRIP BETWEEN BITUMIN AND CONCRETE WALK | LF | 52 | 0.75395 | 39.2054 | 2.2626 | 117.6564 | 156.8618
84 |  | 24" WIDE STOP BAR | LF | 32 | 2.8384 | 90.8288 | 2.9414 | 94.1252 | 184.954
85 |  | PAINTED TEXT "IMPOUND YARD" | EA | 1 | 75.395 | 75.395 | 162.6261 | 162.6261 | 238.0211
86 |  | PAINTED TEXT "NO PARKING" | EA | 2 | 75.395 | 150.79 | 162.6261 | 325.2522 | 476.0422
87 |  | PAINTED TEXT "TRAILER PARKING" | EA | 1 | 75.395 | 75.395 | 162.6261 | 162.6261 | 238.0211
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | BOLLARDS |  |  | 0 | 0 | 0 | 0 | 0
88 | C1-C3 | 6" DIA x 3'-6" GALVANIZED SCHEDULE 40 PIPE BOLLARDS (CONCRETE FILLED) - HDPE BOLLARD COVER WITH RELECTIVE TAPE | EA | 8 | 461.24 | 3689.92 | 278.4454 | 2227.5635 | 5917.4835
89 |  | 8" DIA. x 3'-6" PIPE GALVANIZED STEEL PAINTED YELLOW CONCRETE FILLED BOLLARD | EA | 7 | 527.765 | 3694.355 | 278.4454 | 1949.1181 | 5643.4731
90 |  | LIT BOLLARDS -NO DETAILS | EA | 10 | 399.15 | 3991.5 | 208.8341 | 2088.3408 | 6079.8408
91 |  | 4" DIA. X 3'-6" HIGH STEEL FILLE W/ CONCRETE & PAINTED BOLLARDS -PROVIDE 2" WIDE STRIPPED REFLECTIVE WARNING TAPE | EA | 43 | 399.15 | 17163.45 | 278.4454 | 11973.1539 | 29136.6039
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | EARTHWORK |  |  | 0 | 0 | 0 | 0 | 0
92 |  | EXCAVATION REQUIRED | CY | 6.9196 | 0 | 0 | 36.4184 | 252.0021 | 252.0021
93 |  | HAULOFF | CY | 6.9196 | 0 | 0 | 9.9225 | 68.6604 | 68.6604
94 |  | TRUCKING | HRS | 0.34598 | 0 | 0 | 130 | 44.9776 | 44.9776
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | STEEL GUARD RAIL |  |  | 0 | 0 | 0 | 0 | 0
95 | C1-C3 | STEEL BEAM GUARD RAIL W/ VESTI CR-H2R-BC FLARED ENDS. ALL ENDS W/ REFLECTORS -PROVIDE REQUIRED FOOTING AND EARTHWORK | LF | 587 | 63.1988 | 37097.6663 | 23.8993 | 14028.8875 | 51126.5537
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | WOOD GUARD RAIL |  |  | 0 | 0 | 0 | 0 | 0
96 | C1-C3 | WOOD BEAM GUIDE RAIL W/ 6'-0" HIGH POSTS -4"X10" TOP RAIL W/ 8"X8"x6'-0" POSTS @4'-0" O.C. | LF | 487 | 18.1392 | 8833.7661 | 12.7815 | 6224.5753 | 15058.3413
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | EATHWORK |  |  | 0 | 0 | 0 | 0 | 0
97 |  | EXCAVATION | CY | 142.3333 | 0 | 0 | 36.4184 | 5183.5575 | 5183.5575
98 |  | GRADED GRAVEL COMPACTED BACKFILL | CY | 122 | 42.576 | 5194.272 | 19.3624 | 2362.2103 | 7556.4823
99 |  | 3/4" CRUSHED STONE BASE | CY | 20.3333 | 42.576 | 865.712 | 19.3624 | 393.7017 | 1259.4137
100 |  | HAULOFF EXTRA MATERIAL | CY | 142.3 | 0 | 0 | 9.9225 | 1411.9787 | 1411.9787
101 |  | TRUCKING | HRS | 7.115 | 0 | 0 | 130 | 924.95 | 924.95
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | MISC. |  |  | 0 | 0 | 0 | 0 | 0
102 | C1-C3 | GATE ENTRY CARD READER W/ 4-PROTECTIVE BOLARDS | EA | 1 | 1352.675 | 1352.675 | 375.5646 | 375.5646 | 1728.2396
103 |  | PROVIDE 2x4 PRESSURE TREATED ANCHORED SAW-HORSE ASSEMBLED W/ 10-D GALVANIZED SHANK NAILS | EA | 2 | 199.575 | 399.15 | 107.2708 | 214.5416 | 613.6916
104 |  | EV CHARGER(220-240)V | EA | 1 | 4013.675 | 4013.675 | 440.8243 | 440.8243 | 4454.4993
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | OPERATION BUILDING |  |  | 0 | 0 | 0 | 0 | 0
BASES
105 |  | 12" THK. COMPACTED SAND AND GRAVEL BASE AT SLAB ON GRADE | SF | 15682 | 1.02 | 15996.4241 | 1.3271 | 20811.9868 | 36808.4109
106 |  | 6" COMPACTED BASE AT FOOTINGS | SF | 3649.79 | 0.84265 | 3075.4955 | 0.66356 | 2421.8652 | 5497.3608
107 |  | COMPACTED GRAVEL BACKFILL AT APRON | CY | 185.3333 | 42.576 | 7890.752 | 19.3624 | 3588.4943 | 11479.2463
EARTHWORK
108 |  | EXCAVATION | CY | 4282.455 | 0 | 0 | 36.4184 | 155960.3159 | 155960.3159
109 |  | COMPACTED SAND AND GRAVEL BACKFILL | CY | 4176.16 | 25.25 | 105448.04 | 19.3624 | 80860.3944 | 186308.4344
110 |  | HAULOFF EXTRA MATERIAL | CY | 4282.455 | 0 | 0 | 9.9225 | 42492.8696 | 42492.8696
111 |  | TRUCKING | HRS | 214.1227 | 0 | 0 | 130 | 27835.9575 | 27835.9575
[5 empty] | 0 | 0 | 0 | 0 | 0
| DIV. 33 | UTILITIES | SUBTOTAL MATERIAL |  | 426674.207 | 0 | 730495.1721 | 0 | 1157169.3791 | 1634960.4156
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | TRENCHING FOR SITE ELECTRICAL CONDUITS |  |  | 0 | 0 | 0 | 0 | 0
112 | ESU101 | EXCAVATION REQUIRED | CY | 757.6389 | 0 | 0 | 36.4184 | 27592.0238 | 27592.0238
113 |  | CONCRETE ENCASEMENT | CY | 403.0639 | 164.095 | 66140.7688 | 228.755 | 92202.8722 | 158343.6411
114 |  | COMPACTED BACKFILL - PROVIDE WARNING TAPE | CY | 354.575 | 42.576 | 15096.3852 | 19.3624 | 6865.4157 | 21961.8009
115 |  | HAULOFF | CY | 403.0639 | 0 | 0 | 9.9225 | 3999.4212 | 3999.4212
116 |  | TRUCKING | HRS | 20.1532 | 0 | 0 | 130 | 2619.9153 | 2619.9153
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | TRENCHING FOR PUBLIC SAFETY BUILDING ELECTRICAL CONDUITS |  |  | 0 | 0 | 0 | 0 | 0
117 | ESU101 | EXCAVATION REQUIRED | CY | 47.0833 | 0 | 0 | 36.4184 | 1714.7014 | 1714.7014
118 |  | CONCRETE ENCASEMENT | CY | 25.0483 | 164.095 | 4110.3063 | 228.755 | 5729.931 | 9840.2373
119 |  | COMPACTED BACKFILL - PROVIDE WARNING TAPE | CY | 22.035 | 42.576 | 938.1622 | 19.3624 | 426.65 | 1364.8122
120 |  | HAULOFF | CY | 25.0483 | 0 | 0 | 9.9225 | 248.5433 | 248.5433
121 |  | TRUCKING | HRS | 1.2524 | 0 | 0 | 130 | 162.8142 | 162.8142
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | TRENCHING FOR OPERATIONAL BUILDING ELECTRICAL CONDUITS |  |  | 0 | 0 | 0 | 0 | 0
122 | ESU101 | EXCAVATION REQUIRED | CY | 104.4444 | 0 | 0 | 36.4184 | 3803.7034 | 3803.7034
123 |  | CONCRETE ENCASEMENT | CY | 55.5644 | 164.095 | 9117.8475 | 228.755 | 12710.6434 | 21828.4909
124 |  | COMPACTED BACKFILL - PROVIDE WARNING TAPE | CY | 48.88 | 42.576 | 2081.1149 | 19.3624 | 946.4331 | 3027.548
125 |  | HAULOFF | CY | 55.5644 | 0 | 0 | 9.9225 | 551.3409 | 551.3409
126 |  | TRUCKING | HRS | 2.7782 | 0 | 0 | 130 | 361.1689 | 361.1689
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | PIPING |  |  | 0 | 0 | 0 | 0 | 0
127 | C-3,C-4 | 4" DICL LOOP WATER LINE | LF | 246.29 | 37.6975 | 9284.5173 | 16.0499 | 3952.918 | 13237.4353
128 |  | 6" DICL LOOP WATER LINE | LF | 255.08 | 45.237 | 11539.054 | 20.0623 | 5117.4953 | 16656.5493
129 |  | 8" DICL LOOP WATER LINE | LF | 2347.95 | 47.4545 | 111420.7933 | 24.0748 | 56526.375 | 167947.1683
130 |  | 6" FIRE SERVICE LINE | LF | 247.83 | 18.1835 | 4506.4168 | 45.227 | 11208.6074 | 15715.0242
131 |  | 12"-18" HDPE DRAIN LINE | LF | 2953.59 | 14.8395 | 43829.8283 | 10.7826 | 31847.4575 | 75677.2858
132 |  | ROOF DRAIN LINE | LF | 1332.91 | 18.627 | 24828.1146 | 36.946 | 49245.6929 | 74073.8074
133 |  | SEWER LINE | LF | 2403.59 | 17.3408 | 41680.2937 | 17.1353 | 41186.2357 | 82866.5294
134 |  | 4" THICK POLYSTYRENE INSULATION OVER ROOF DRAIN | LF | 126.13 | 4.5681 | 576.1681 | 6.3195 | 797.0816 | 1373.2497
135 |  | OVERHEAD WIRES | LF | 326 | 12.0189 | 3918.1451 | 5.3886 | 1756.6959 | 5674.841
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | VALVE |  |  | 0 | 0 | 0 | 0 | 0
136 | C-3,C-4 | 6" GATE VALVE | EA | 9 | 649.284 | 5843.556 | 258.622 | 2327.598 | 8171.154
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | DRAINAGE |  |  | 0 | 0 | 0 | 0 | 0
137 | C-3,C-4 | 12" DIA x5'-0" DEEP PRECAST CONCRETE CATCH BASIN - 1-1/2" TOP COURSE - 2-1/2" BINDER COURSE - MORTAR TO BINDER GRADE - ADJUST TO GRADE WITH TWO COURSES OF BRICK MASONRY - FLAT SLAB WITH 24" OPENING CAST ECCENTRICALLY - CONCRETE STRENGTH 4,000 PSI @ 28 DAYS - CEMENT PORTLAND TYPE II PER ASTM C150 - DESIGN LOADING PER AASHTO HS-20 - PRECAST CONCRETE BASE AND RISER SECTION | EA | 18 | 204.01 | 3672.18 | 234.6436 | 4223.5848 | 7895.7648
138 |  | 12" DIA x5'-0" DEEP DRAIN CATCH BASIN - 1-1/2" TOP COURSE - 2-1/2" BINDER COURSE - MORTAR TO BINDER GRADE - ADJUST TO GRADE WITH TWO COURSES OF BRICK MASONRY - FLAT SLAB WITH 24" OPENING CAST ECCENTRICALLY - CONCRETE STRENGTH 4,000 PSI @ 28 DAYS - CEMENT PORTLAND TYPE II PER ASTM C150 - DESIGN LOADING PER AASHTO HS-20 - PRECAST CONCRETE BASE AND RISER SECTION | EA | 8 | 204.01 | 1632.08 | 234.6436 | 1877.1488 | 3509.2288
139 |  | 12" DIA x8'-0" DEEP DRAIN MANHOLE - 2-1/2" BINDER COURSE - MORTAR TO BINDER GRADE - ADJUST TO GRADE WITH TWO COURSES OF BRICK MASONRY - CAST ALUMINUM ALLOY OR STEEL-REINFORCED COPOLYMER POLYPROPYLENE PLASTIC RUNGS 1/4" WIDE WITH ABRASIVE STEP SURFACE - BITUMASTIC WATERPROOF COATING - ALL JOINTS SEALED WITH ROUND RUBBER "0" RING OR APPROVED PERFORATED FLEXIBLE JOINT SEALANT - BRICK SEWER INVERT (BRICKS LAID ON EDGE) - BRICK CHIPS AND MOTOR OR CEMENT CONCRETE - CONCRETE STRENGTH 4,000 PSI @ 28 DAYS - CEMENT PORTLAND TYPE II PER ASTM C150 - DESIGN LOADING PER AASHTO HS-20 - PRECAST CONCRETE BASE AND RISER SECTION | EA | 3 | 283.84 | 851.52 | 350.9233 | 1052.77 | 1904.29
140 |  | 15" DIA x8'-0" DEEP DRAIN MANHOLE - 2-1/2" BINDER COURSE - MORTAR TO BINDER GRADE - ADJUST TO GRADE WITH TWO COURSES OF BRICK MASONRY - CAST ALUMINUM ALLOY OR STEEL-REINFORCED COPOLYMER POLYPROPYLENE PLASTIC RUNGS 1/4" WIDE WITH ABRASIVE STEP SURFACE - BITUMASTIC WATERPROOF COATING - ALL JOINTS SEALED WITH ROUND RUBBER "0" RING OR APPROVED PERFORATED FLEXIBLE JOINT SEALANT - BRICK SEWER INVERT (BRICKS LAID ON EDGE) - BRICK CHIPS AND MOTOR OR CEMENT CONCRETE - CONCRETE STRENGTH 4,000 PSI @ 28 DAYS - CEMENT PORTLAND TYPE II PER ASTM C150 - DESIGN LOADING PER AASHTO HS-20 - PRECAST CONCRETE BASE AND RISER SECTION | EA | 7 | 399.15 | 2794.05 | 395.4805 | 2768.3633 | 5562.4133
141 |  | 18" DIA x8'-0" DEEP DRAIN MANHOLE - 2-1/2" BINDER COURSE - MORTAR TO BINDER GRADE - ADJUST TO GRADE WITH TWO COURSES OF BRICK MASONRY - CAST ALUMINUM ALLOY OR STEEL-REINFORCED COPOLYMER POLYPROPYLENE PLASTIC RUNGS 1/4" WIDE WITH ABRASIVE STEP SURFACE - BITUMASTIC WATERPROOF COATING - ALL JOINTS SEALED WITH ROUND RUBBER "0" RING OR APPROVED PERFORATED FLEXIBLE JOINT SEALANT - BRICK SEWER INVERT (BRICKS LAID ON EDGE) - BRICK CHIPS AND MOTOR OR CEMENT CONCRETE - CONCRETE STRENGTH 4,000 PSI @ 28 DAYS - CEMENT PORTLAND TYPE II PER ASTM C150 - DESIGN LOADING PER AASHTO HS-20 - PRECAST CONCRETE BASE AND RISER SECTION | EA | 2 | 527.765 | 1055.53 | 535.8354 | 1071.6709 | 2127.2009
142 |  | 18" DIA x8'-0" DEEP SEWER - 2-1/2" BINDER COURSE - MORTAR TO BINDER GRADE - ADJUST TO GRADE WITH TWO COURSES OF BRICK MASONRY - CAST ALUMINUM ALLOY OR STEEL-REINFORCED COPOLYMER POLYPROPYLENE PLASTIC RUNGS 1/4" WIDE WITH ABRASIVE STEP SURFACE - BITUMASTIC WATERPROOF COATING - ALL JOINTS SEALED WITH ROUND RUBBER "0" RING OR APPROVED PERFORATED FLEXIBLE JOINT SEALANT - BRICK SEWER INVERT (BRICKS LAID ON EDGE) - BRICK CHIPS AND MOTOR OR CEMENT CONCRETE - CONCRETE STRENGTH 4,000 PSI @ 28 DAYS - CEMENT PORTLAND TYPE II PER ASTM C150 - DESIGN LOADING PER AASHTO HS-20 - PRECAST CONCRETE BASE AND RISER SECTION | EA | 12 | 527.765 | 6333.18 | 535.8354 | 6430.0252 | 12763.2052
143 |  | AD-1: AREA DRAIN | EA | 2 | 399.15 | 798.3 | 241.9963 | 483.9926 | 1282.2926
144 |  | ELECTRIC MANHOLE | EA | 3 | 1618.775 | 4856.325 | 1847.3 | 5541.9 | 10398.225
145 |  | TELEPHONE MANHOLE | EA | 2 | 1618.775 | 3237.55 | 1847.3 | 3694.6 | 6932.15
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | EXCAVATION |  |  | 0 | 0 | 0 | 0 | 0
146 | C-3,C-4 | EXCAVATION PROVIDED FOR DRAINAGE FOOTING | CY | 5647.037 | 0 | 0 | 36.4184 | 205656.2603 | 205656.2603
147 |  | BACKFILL PROVIDED FOR FOOTING | CY | 5360.6767 | 0 | 0 | 19.3624 | 103795.4555 | 103795.4555
148 |  | HAULING OFF EXTRA MATERIAL | CY | 286.3604 | 0 | 0 | 9.9225 | 2841.4248 | 2841.4248
149 |  | TRUCKING | HRS | 14.318 | 0 | 0 | 130 | 1861.3424 | 1861.3424
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | BASIN |  |  | 0 | 0 | 0 | 0 | 0
150 | C-3,C-4 | STORMWATER BASIN A: NOTE: ALL BASINS SHELL BE 3/4" - 1-1/2" CRUSHED WASHED STONE IN A MINIMUM DEPTH OF 3". | EA | 1 | 3769.75 | 3769.75 | 4761.145 | 4761.145 | 8530.895
151 |  | STORMWATER BASIN D: NOTE: ALL BASINS SHELL BE 3/4" - 1-1/2" CRUSHED WASHED STONE IN A MINIMUM DEPTH OF 3". | EA | 1 | 3769.75 | 3769.75 | 4761.145 | 4761.145 | 8530.895
152 |  | STORMWATER BASIN F: NOTE: ALL BASINS SHELL BE 3/4" - 1-1/2" CRUSHED WASHED STONE IN A MINIMUM DEPTH OF 3". | EA | 1 | 3769.75 | 3769.75 | 4761.145 | 4761.145 | 8530.895
153 |  | STORMWATER BASIN E: NOTE: ALL BASINS SHELL BE 3/4" - 1-1/2" CRUSHED WASHED STONE IN A MINIMUM DEPTH OF 3". | EA | 1 | 3769.75 | 3769.75 | 4761.145 | 4761.145 | 8530.895
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | MISC. |  |  | 0 | 0 | 0 | 0 | 0
154 | C-3,C-4 | 4" SUBDRAIN | EA | 3 | 372.54 | 1117.62 | 242.7352 | 728.2057 | 1845.8257
155 |  | 15" FES: FLARED END SECTION | EA | 4 | 310.45 | 1241.8 | 79.2061 | 316.8244 | 1558.6244
156 |  | 18" FES: FLARED END SECTION | EA | 2 | 354.8 | 709.6 | 99.0076 | 198.0153 | 907.6153
157 |  | GAS / SAND TRAP | EA | 1 | 9224.8 | 9224.8 | 2728.0162 | 2728.0162 | 11952.8162
158 |  | OCS-C: | EA | 1 | 665.25 | 665.25 | 295.568 | 295.568 | 960.818
159 |  | HYDRANT | EA | 6 | 3082.325 | 18493.95 | 330.6148 | 1983.6887 | 20477.6387
[5 empty] | 0 | 0 | 0 | 0 | 0
ADD ALTERNATE
LINE NO. | DWG REF./ CSI SEC. | ITEM DESCRIPTION | UNIT OF MEASURE | QUANTITY | MATERIAL |  | LABOR |  | LINE TOTAL | TRADE TOTAL
[5 empty] | UNIT PRICE | TOTAL COST | UNIT PRICE | TOTAL COST
| ALT-1 | FIRE TRAINING COMPLEX | SUBTOTAL MATERIAL |  | 11174.111 | 0 | 15067.1076 | 0 | 26241.2186 | 37018.8092
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | BUILDING UNDERSLAB & UNDER FOOTING BASES |  |  | 0 | 0 | 0 | 0 | 0
160 | S801-S802 | 12"THK COMPACTED SAND & GRAVEL BASE UNDER SLAB ON GRADE | SF | 1586.94 | 1.02 | 1618.7581 | 1.3271 | 2106.069 | 3724.8272
161 |  | 6"THK COMPACTED CRUSHED STONE UNDER CONCRETE FOOTINGS -UNDISTURBED EARTH OR COMPACTED SAND & GRAVEL OR CRUSHED STONE @ LOC'S OF DISTURBED EARTH OR UNSUITABLE SOIL (SEE GEOTECH REPORT FOR ADD'L INFO.) | SF | 534.5 | 0.84265 | 450.3964 | 0.66356 | 354.6744 | 805.0708
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | EXCAVATION |  |  | 0 | 0 | 0 | 0 | 0
162 | S801-S802 | EXCAVATION PROVIDED FOR FOOTING | CY | 8.4593 | 0 | 0 | 36.4184 | 308.073 | 308.073
163 |  | BACKFILL PROVIDED FOR FOOTING | CY | 3.8593 | 0 | 0 | 19.3624 | 74.7244 | 74.7244
164 |  | HAULING OFF EXTRA MATERIAL | CY | 4.6 | 0 | 0 | 9.9225 | 45.6437 | 45.6437
165 |  | TRUCKING | HRS | 0.23 | 0 | 0 | 130 | 29.9 | 29.9
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | TRECHING |  |  | 0 | 0 | 0 | 0 | 0
166 |  | EXCAVATION REQUIRED FOR PIPING | CY | 218 | 0 | 0 | 36.4184 | 7939.2192 | 7939.2192
167 |  | COMPACTED BACKFILL | CY | 213.8519 | 42.576 | 9104.9564 | 19.3624 | 4140.6807 | 13245.6371
168 |  | HAULOFF | CY | 4.1481 | 0 | 0 | 9.9225 | 41.1602 | 41.1602
169 |  | TRUCKING | HRS | 0.20741 | 0 | 0 | 130 | 26.963 | 26.963
[5 empty] | 0 | 0 | 0 | 0 | 0
| ALT-2 | CARPORT | SUBTOTAL MATERIAL |  | 0 | 0 | 4306.7534 | 0 | 4306.7534 | 6145.7371
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | EARTH WORK |  |  | 0 | 0 | 0 | 0 | 0
170 |  | EXCAVATION PROVIDED FOR FOOTING | CY | 78 | 0 | 0 | 36.4184 | 2840.6381 | 2840.6381
171 | S801-S802 | BACKFILL PROVIDED FOR FOOTING | CY | 62.982 | 0 | 0 | 19.3624 | 1219.4821 | 1219.4821
170 |  | HAULING OFF EXTRA MATERIAL | CY | 15.018 | 0 | 0 | 9.9225 | 149.0165 | 149.0165
172 |  | TRUCKING | HRS | 0.7509 | 0 | 0 | 130 | 97.6167 | 97.6167
[5 empty] | 0 | 0 | 0 | 0 | 0
| ALT-3 | ALTERNATE CURBING | SUBTOTAL MATERIAL |  | 56743.164 | 0 | 36942.8309 | 0 | 93685.9949 | 131519.4887
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | DEDUCT |  |  | 0 | 0 | 0 | 0 | 0
173 | C1-C3 | 6" HIGH PRE-CAST CONCRETE CURB STEEL REINFORCED | LF | -7108 | 8.9587 | -63678.4396 | 7.3026 | -51907.0156 | -115585.4552
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | ADD |  |  | 0 | 0 | 0 | 0 | 0
174 | C1-C3 | 6" HIGH GRANITE CURB W/ 6"X6" CONT. BACKER BEAM OF 4000 PSI UNFORMED CONCRETE | LF | 7108 | 16.9417 | 120421.6036 | 12.5 | 88849.8465 | 209271.4501
[5 empty] | 0 | 0 | 0 | 0 | 0
| ALT-4 | IRRIGATION | SUBTOTAL MATERIAL |  | 2971.45 | 0 | 4331.6 | 0 | 7303.05 | 10307.7944
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | IRRIGATION ENCLOSURE AND WELL |  |  | 0 | 0 | 0 | 0 | 0
175 | C1-C3 | IRRIGATION ENCLOSURE AND WELL | EA | 1 | 2971.45 | 2971.45 | 4331.6 | 4331.6 | 7303.05
[5 empty] | 0 | 0 | 0 | 0 | 0
| ALT-5 | LANDSCAPE | SUBTOTAL MATERIAL |  | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | LOAM |  |  | 0 | 0 | 0 | 0 | 0
175 | L-1 | SUPPLY, SCREENING AND SPREADING OF 6" LOAM AT SEEDING AREA | SF | 32551 |  | 0 |  | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0
|  | PLANTING SOIL |  |  | 0 | 0 | 0 | 0 | 0
176 | L-1 | SUPPLY AND INSTALLATION OF PLANTING SOIL; -50% LOAM -25% SAND -25% PEAT MOSS | CY | 672.4833 |  | 0 |  | 0 | 0
NOTE: 6'-0"DIA. X 2'-6" HIGH PLANTING SOIL IS ASSUMED FOR ALL PLANTS
[5 empty] | 0 | 0 | 0 | 0 | 0